## Slide 1
STEADY-STATE POWER ANALYSIS
LEARNING GOALS
Instantaneous Power
For the special case of steady state sinusoidal signals
Average Power
Power absorbed or supplied during one cycle
Maximum Average Power Transfer
When the circuit is in sinusoidal steady state
Effective or RMS Values
For the case of sinusoidal signals
Power Factor
A measure of the angle between current and voltage phasors
Complex Power
Measure of power using phasors
Power Factor Correction
How to improve power transfer to a load by “aligning” phasors
Single Phase Three-Wire Circuits
Typical distribution method for households and small loads

## Slide 2
INSTANTANEOUS POWER
LEARNING EXAMPLE
constant
Twice the
frequency

## Slide 3
AVERAGE POWER
For sinusoidal (and other periodic signals)
we compute averages over one period
If voltage and current are in phase
If voltage and current are in quadrature
Purely
resistive
Purely
inductive or
capacitive
It does not matter
who leads
LEARNING EXAMPLE
Find the average
power absorbed
by impedance
Since inductor does not absorb power
one can use voltages and currents across
the resistive part

## Slide 4
LEARNING EXAMPLE
Determine the average power absorbed by each resistor,
the total average power absorbed and the average power
supplied by the source
If voltage and current are in phase
Inductors and capacitors do not absorb
power in the average
Verification

## Slide 5
LEARNING EXTENSION
Find average power absorbed by each resistor

## Slide 6
LEARNING EXTENSION
Find the AVERAGE power absorbed by each PASSIVE
component and the total power supplied by the source
Power supplied by source
Method 1.
Method 2:

## Slide 7
LEARNING EXAMPLE
Determine average power absorbed or supplied by each
element
To determine power absorbed/supplied
by sources we need the currents I1, I2
Passive sign convention

## Slide 8
LEARNING EXTENSION
Determine average power absorbed/supplied by each
element
Check: Power supplied =power absorbed
Alternative Procedure

## Slide 9
LEARNING EXTENSION
Determine average power absorbed/supplied by each
element

## Slide 10
MAXIMUM AVERAGE POWER TRANSFER

## Slide 11
LEARNING EXAMPLE
Remove the load and determine the Thevenin equivalent of remaining circuit
We are asked for the value of the
power. We need the Thevenin voltage

## Slide 12
LEARNING EXAMPLE
Circuit with dependent sources!
KVL
KVL
Next: the short circuit current ...

## Slide 13
LEARNING EXAMPLE (continued)...
Original circuit
Substitute and rearrange

## Slide 14
LEARNING EXTENSION

## Slide 15
LEARNING EXTENSION
KVL

## Slide 16
EFFECTIVE OR RMS VALUES
The effective value is the equivalent DC
value that supplies the same average power
Definition is valid for ANY periodic
signal with period T
If the current is sinusoidal the average
power is known to be

## Slide 17
LEARNING EXAMPLE
Compute the rms value of the voltage waveform
One period
The two integrals have the
same value

## Slide 18
LEARNING EXAMPLE
Compute the rms value of the voltage waveform and use it to
determine the average power supplied to the resistor

## Slide 19
LEARNING EXTENSION
Compute rms value of the voltage waveform

## Slide 20
LEARNING EXTENSION
Compute the rms value for the current waveforms and use
them to determine average power supplied to the resistor

## Slide 21
THE POWER FACTOR

## Slide 22
LEARNING EXAMPLE
Find the power supplied by the power company.
Determine how it changes if the power factor is changed to 0.9
Power company
Current lags the voltage
If pf=0.9
If pf=0.9
Losses can be reduced by 2kW!
Examine also the generated voltage

## Slide 23
LEARNING EXTENSION
Determine the power savings if the power factor can be increased to 0.94

## Slide 24
COMPLEX POWER
The units of apparent
and reactive power are
Volt-Ampere
Another useful form
Active Power
Reactive Power
inductive
capacitive

## Slide 25
LEARNING EXAMPLE
Determine the voltage and power factor at the input to the line
inductive
capacitive
inductive
lagging

## Slide 26
LEARNING EXAMPLE
Compute the average power flow between networks
Determine which is the source
A supplies 7.2kW average power to B
Passive sign convention.
Power received by A

## Slide 27
LEARNING EXTENSION
Determine real and reactive power losses and
real and reactive power supplied
inductive
capacitive
Balance of power

## Slide 28
LEARNING EXTENSION
Determine line voltage and power factor at the supply end
lagging
The phasor diagram helps in visualizing
the relationship between voltage and current

## Slide 29
Low power factors increase
losses and are penalized by
energy companies
Typical industrial loads
are inductive
Simple approach to power factor correction
POWER FACTOR CORRECTION

## Slide 30
LEARNING EXAMPLE
Roto-molding
process

## Slide 31
LEARNING EXTENSION
Determine the capacitor necessary to increase the
power factor to 0.94

## Slide 32
Power circuit normally
used for residencial
supply
Line-to-line used
to supply major
appliances (AC, dryer).
Line-to-neutral for lights
and small appliances
Basic circuit.
General
balanced
case
General case by source
superposition
Neutral current is zero
Neutral
current
is zero
An exercise in
symmetry
SINGLE-PHASE THREE-WIRE CIRCUITS

## Slide 33
LEARNING EXAMPLE
Determine energy use over a 24-hour period and the cost
if the rate is $0.08/kWh
Lights on
Stereo on
Assume all
resistive
Outline of
verification

## Slide 34
SAFETY CONSIDERATIONS
Average effect of 60Hz current from hand to
hand and passing the heart
Required voltage depends on contact, person
and other factors
Typical residential circuit with ground and
neutral
Ground conductor is not needed for
normal operation

## Slide 35
Increased safety due to grounding
When switched on the tool case is energized
without the ground connector the
user can be exposed to the full
supply voltage!
Conducting due to wet floor
If case is grounded then the supply is shorted and the fuse acts to open
the circuit
LEARNING EXAMPLE
More detailed numbers in a related case study

## Slide 36
LEARNING EXAMPLE
Ground prong removed
Suggested resistances
for human body
Wet
skin
Limbs
trunk
Can cause ventricular fibrillation

## Slide 37
LEARNING EXAMPLE
Ground Fault Interrupter (GFI)
In normal operating mode the two currents induce canceling magnetic fluxes
No voltage is induced in the sensing coil

## Slide 38
LEARNING EXAMPLE
x
Ground
fault
Vinyl lining (insulator)
Circuit formed when boy in
water touches boy holding
grounded rail
A ground fault scenario
While boy is alone in the pool
there is no ground connection

## Slide 39
LEARNING EXAMPLE
Accidental grounding
Only return path in normal
operation
New path created by the
grounding
Using suggested values of resistance the
secondary path causes a dangerous current
to flow through the body

## Slide 40
LEARNING EXAMPLE
A grounding accident
After the boom touches the live line the operator jumps down and starts walking
towards the pole
7200 V
Ground is not a perfect
conductor
10m
720V/m
One step applies 720 Volts to the
operator

## Slide 41
LEARNING EXAMPLE
A 7200V power line falls on the car and makes contact with it
Wet Road
Option 1.
Driver opens door and steps down
Option 2:
Driver stays inside the car
7200V
Car body is good conductor
Tires are
insulators
Suggested resistances
for human body

## Slide 42
LEARNING EXAMPLE
Find the maximum cord length
CASE 1: 16-gauge wire
CASE 2: 14-gauge wire
Minimum voltage for proper
operation
Working with RMS values the problem is formally the same as a DC problem

## Slide 43
LEARNING EXAMPLE
Light dimming when AC starts
Typical single-phase 3-wire installation
Circuit at start of AC unit. Current
demand is very high
AC off
AC in normal operation

## Slide 44
LEARNING BY DESIGN
Analysis of single phase 3-wire circuit installations
Option 1
Option 2
Steady-state
Power Analysis